# Supplement for:

# Nucleosynthetic vanadium isotope heterogeneity of the early solar system recorded in chondritic meteorites

Sune G. Nielsen1,2, Maureen Auro1, Kevin Righter3, David Davis4, Julie Prytulak5,6, Fei Wu7, Jeremy D. Owens7

1 - NIRVANA laboratories, Woods Hole Oceanographic Institution, Woods Hole, MA, USA

2 - Department of Geology and Geophysics, Woods Hole Oceanographic Institution, Woods Hole, MA, USA

3 - NASA JSC, Houston, TX, USA

4 - Department of Earth Science, Georgia State University, Atlanta, GA, USA

5 – Department of Earth Science and Engineering, Imperial College London, UK

6 – Department of Earth Science, Durham University, UK

7 - Department of Earth, Ocean and Atmospheric Science, National High Magnetic Field Laboratory, Florida State University, Tallahassee, FL 32306, USA

# Concentration measurements by ICP-MS

We measured the concentrations of V and 30 other elements on minor splits of the samples dissolved for V isotope analysis (Table S2 and S3). The measurements were performed using an iCap ICP-MS using the collision cell to minimize polyatomic interferences. Concentrations were calculated via reference to ion beam intensities obtained from a five-point calibration curve constructed from serial dilutions of a gravimetrically-prepared multi-element standard. Drift was monitored and corrected via normalization to indium that was added to all samples at a concentration of 1 ng/g. Accuracy and precision were determined to be better than ± 10 % (s.d.) based on analyses of USGS reference materials AGV-1, BIR-1, BHVO-1 and GSP-2 (Table S4).

Table S1: Allende spike addition experiments from Prytulak et al (2011)

| Sample | Fraction spike | 2SD | 51V | 2SD |
| --- | --- | --- | --- | --- |
| Allende 1 | 0.123 | 0.012 | -3.70 | 0.42 |
| Allende 2 | 0.224 | 0.022 | -5.08 | 0.27 |
| Allende 3 | 0.299 | 0.030 | -6.28 | 0.32 |
| Allende 4 | 0.373 | 0.037 | -7.47 | 0.09 |
| Unspiked Allende (York regression) | -1.79 | 0.69 |
| Unspiked Allende (Prytulak et al 2011) | -1.66 | 0.13 |
| Unspiked CV3 (this study) | -1.12 | 0.13 |

Table S2: Trace element concentrations for carbonaceous chondrites

|  | EET92002 | ALH83100 | DOM08006 | Lance | Warrenton | GRA06100 | MIL09001 | LAP02206 | LAR12002 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type | CK | CM | CO | CO | CO | CR | CR | CV | CV |
| Li | 2.3 | 1.7 | 2.1 | 4.3 | 3.5 | 2.2 | 2.1 | 2.0 | 1.9 |
| Na | 3153 | 2729 | 1096 | 3984 | 3480 | 2532 | 653 | 3139 | 3287 |
| Mg | 145995 | 118548 | 132386 | 133595 | 112440 | 141722 | 123071 | 1478434 | 150892 |
| Al | 15262 | 12033 | 12471 | 12678 | 10567 | 11645 | 10473 | 13558 | 15661 |
| P | 1000 | 1079 | 1093 | 1052 | 914 | 968 | 669 | 1023 | 1156 |
| Ca | 15538 | 12833 | 12976 | 14560 | 12050 | 13118 | 10869 | 16157 | 17435 |
| Sc | 9.6 | 7.0 | 8.2 | na | na | 8.4 | 6.9 | 8.4 | 10.9 |
| Ti | 924 | 638 | 720 | 666 | 575 | 667 | 599 | 737 | 856 |
| V | 91 | 72 | 80 | 76 | 66 | 72 | 66 | 83 | 88 |
| Cr | 3502 | 2980 | 3250 | 3121 | 2609 | 3734 | 3337 | 3305 | 3409 |
| Mn | 1424 | 1825 | 1556 | 1558 | 1279 | 1715 | 1888 | 1363 | 1436 |
| Fe | 228042 | 216146 | 240717 | 236606 | 193920 | 232265 | 229527 | 223025 | 234422 |
| Co | 584 | 586 | 628 | 593 | 508 | 593 | 566 | 616 | 524 |
| Ni | 11280 | 11518 | 13048 | 11306 | 10121 | 12522 | 11940 | 13083 | 8897 |
| Cu | 82 | 126 | 121 | 113 | 101 | 82 | 92 | 98 | 84 |
| Zn | 276 | 175 | 94 | 91 | 85 | 99 | 65 | 103 | 90 |
| Rb | 0.87 | 1.65 | 1.41 | na | na | 1.19 | 0.65 | 0.85 | 0.74 |
| Sr | 13.1 | 11.6 | 11.2 | 12.7 | 10.9 | 11.0 | 6.1 | 14.3 | 18.8 |
| Cs | 0.072 | 0.12 | 0.077 | 0.081 | 0.066 | 0.055 | 0.067 | 0.050 | 0.071 |
| Ba | 4.4 | 3.4 | 3.5 | 3.9 | 3.3 | 3.5 | 3.1 | 4.0 | 4.5 |
| Pr | 0.171 | 0.127 | 0.131 | na | na | 0.132 | 0.109 | 0.143 | 0.178 |
| Nd | 0.91 | 0.60 | 0.63 | 0.67 | 0.58 | 0.59 | 0.52 | 0.70 | 0.77 |
| Sm | 0.314 | 0.204 | 0.214 | 0.232 | 0.201 | 0.205 | 0.181 | 0.244 | 0.270 |
| Gd | 0.369 | 0.256 | 0.271 | 0.298 | 0.258 | 0.263 | 0.236 | 0.287 | 0.319 |
| Tb | 0.061 | 0.045 | 0.048 | na | na | 0.051 | 0.042 | 0.052 | 0.060 |
| Dy | 0.450 | 0.336 | 0.341 | 0.398 | 0.339 | 0.341 | 0.299 | 0.360 | 0.411 |
| Ho | 0.092 | 0.068 | 0.072 | na | na | 0.083 | 0.067 | 0.081 | 0.096 |
| Er | 0.274 | 0.209 | 0.219 | 0.242 | 0.215 | 0.226 | 0.200 | 0.231 | 0.261 |
| Tm | 0.045 | 0.031 | 0.035 | na | na | 0.037 | 0.030 | 0.039 | 0.046 |
| Yb | 0.293 | 0.214 | 0.233 | 0.261 | 0.224 | 0.232 | 0.197 | 0.261 | 0.286 |
| Lu | 0.0422 | 0.0288 | 0.0328 | na | na | 0.0363 | 0.0297 | 0.0359 | 0.0400 |

All values in μg/g

na - not analyzed

Table S3: Trace element concentrations for ordinary chondrites

|  | St. Marks | WSG95300 | ALHA77215 | QUE97008 | GRO06054 | Alfianello | MET00452 | NWA753 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type | EH | H3.3 | H3.7 | L3.0 | L3.6 | L6 | LL/L 3.05 | R3.9 |
| Li | 3.9 | 2.0 | na | 2.3 | na | 4.4 | na | 6.7 |
| Na | 6597 | 6947 | 6749 | 7591 | 7516 | 7725 | 5202 | 6385 |
| Mg | 105643 | 129608 | 138876 | 144659 | 156930 | 149170 | 145031 | 132761 |
| Al | 7906 | 10144 | 10018 | 10797 | 11245 | 11972 | 10244 | 10443 |
| P | 1952 | 1225 | 1142 | 966 | 1215 | 992 | 1029 | 1325 |
| Ca | 8297 | 11933 | 12466 | 12194 | 14030 | 14398 | 12545 | 13507 |
| Sc | na | na | na | na | na | na | na | na |
| Ti | 440 | 572 | 597 | 583 | 674 | 696 | 605 | 589 |
| V | 51 | 66 | 69 | 70 | 82 | 67 | 70 | 78 |
| Cr | 2786 | 3381 | 3257 | 3514 | 3831 | 2881 | 3346 | 3418 |
| Mn | 1865 | 2319 | 2479 | 2816 | 2916 | 2828 | 2506 | 2470 |
| Fe | 320365 | 254226 | 258965 | 186769 | 209663 | 221257 | 167682 | 242899 |
| Co | 914 | 733 | 922 | 457 | 474 | 556 | 392 | 635 |
| Ni | 16481 | 14108 | 17340 | 8595 | 9892 | 11267 | 8869 | 12182 |
| Cu | 191 | 88 | 107 | 78 | 97 | 93 | 75 | 109 |
| Zn | 54 | 51 | 64 | 62 | 74 | 54 | 51 | 156 |
| Rb | na | na | na | na | na | na | na | na |
| Sr | 7.7 | 10.9 | 11.9 | 11.1 | 13.6 | 11.6 | 12.9 | 31 |
| Cs | 0.031 | 0.136 | na | 0.167 | na | 0.008 | na | 0.068 |
| Ba | 2.2 | 3.4 | 3.5 | 4.6 | 4.7 | 3.7 | 4.0 | 93 |
| Pr | na | na | na | na | na | na | na | na |
| Nd | 0.42 | 0.54 | 0.51 | 0.60 | 0.68 | 0.59 | 0.60 | 0.59 |
| Sm | 0.142 | 0.185 | 0.171 | 0.202 | 0.234 | 0.208 | 0.202 | 0.200 |
| Gd | 0.185 | 0.241 | 0.224 | 0.261 | 0.314 | 0.271 | 0.272 | 0.262 |
| Tb | na | na | na | na | na | na | na | na |
| Dy | 0.255 | 0.32 | 0.284 | 0.35 | 0.40 | 0.38 | 0.36 | 0.35 |
| Ho | na | na | na | na | na | na | na | na |
| Er | 0.154 | 0.201 | 0.188 | 0.219 | 0.262 | 0.240 | 0.231 | 0.220 |
| Tm | na | na | na | na | na | na | na | na |
| Yb | 0.158 | 0.207 | 0.183 | 0.222 | 0.261 | 0.256 | 0.233 | 0.223 |
| Lu | na | na | na | na | na | na | na | na |

All values in μg/g

na - not analyzed

Table S4: Trace element concentrations for USGS reference materials.

|  | AGV-1 avg n = 3 | Georem pref. value | diff. (%) | GSP-2 avg n = 2 | Georem pref. value | diff. (%) | BHVO-1 avg n = 2 | Georem pref. value | diff. (%) | BIR-1 avg n = 2 | Georem pref. value | diff. (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Li | 9.95 | 10.70 | -7.0 | 38.4 | 36 | 6.8 | 4.46 | 4.68 | -4.6 | 3.14 | 3.20 | -1.7 |
| Na | 33696 | 31540 | 6.8 | 22264 | 20600 | 8.0 | 16083 | 17160 | -6.3 | 13881 | 13592 | 2.1 |
| Mg | 10059 | 9122 | 10 | 5894 | 5800 | 1.6 | 40265 | 43634 | -7.7 | 56714 | 58612 | -3.2 |
| Al | 92505 | 90582 | 2.1 | 81959 | 78800 | 4.0 | 66680 | 72476 | -8.0 | 80428 | 82111 | -2.0 |
| P | 2030 | 2151 | -5.7 | 1112 | 1300 | -14 | 976 | 1211 | -19 | 73.4 | na |  |
| Ca | 37329 | 34929 | 6.9 | 14957 | 15000 | -0.3 | 72721 | 81643 | -11 | 90610 | 94928 | -4.5 |
| Sc | 12.57 | 12.43 | 1.2 | 6.28 | 6.30 | -0.3 | 29.4 | 31.4 | -6.5 | 42.1 | 43.2 | -2.5 |
| Ti | 5899 | 6300 | -6.4 | 4149 | 3960 | 4.8 | 16705 | 16452 | 1.5 | 6018 | 5752 | 4.6 |
| V | 116.1 | 119.4 | -2.8 | 52.7 | 52.0 | 1.3 | 319 | 314 | 1.6 | 334 | 321 | 4.0 |
| Cr | 12.23 | 9.47 | 29 | 20.1 | 20.0 | 0.6 | 285 | 287.6 | -0.8 | 418 | 393 | 6.4 |
| Mn | 776 | 748 | 3.7 | 329 | 320 | 2.8 | 1275 | 1308 | -2.6 | 1404 | 1341 | 4.7 |
| Fe | 45174 | 47285 | -4.5 | 35530 | 34300 | 3.6 | 88898 | 86240 | 3.1 | 85419 | 79800 | 7.0 |
| Co | 15.61 | 15.14 | 3.1 | 7.0 | 7.3 | -4.1 | 44.5 | 44.9 | -0.9 | 53.9 | 52.2 | 3.2 |
| Ni | 15.82 | 15.41 | 2.7 | 15.2 | 17.0 | -11 | 120 | 120 | 0.1 | 179 | 168.9 | 5.7 |
| Cu | 51.4 | 58.4 | -12 | 39.6 | 43.0 | -8.0 | 140 | 137.2 | 2.3 | 124 | 120.7 | 2.4 |
| Zn | 82.8 | 86.8 | -4.6 | 96 | 120 | -20 | 98.9 | 105.1 | -5.9 | 66.8 | 70.4 | -5.1 |
| Rb | 64.5 | 67.8 | -4.8 | 258 | 245 | 5.3 | 9.63 | 9.52 | 1.2 | 0.212 | 0.210 | 1.1 |
| Sr | 650 | 661 | -1.7 | 240 | 240 | -0.1 | 408 | 399.2 | 2.4 | 111 | 108.6 | 2.3 |
| Cs | 1.10 | 1.25 | -12 | 1.09 | 1.20 | -9.0 | 0.098 | 0.103 | -5.4 | 0.0044 | 0.0065 | -31 |
| Ba | 1085 | 1218 | -11 | 1234 | 1340 | -7.9 | 131 | 134.4 | -2.2 | 6.31 | 6.75 | -6.6 |
| Pr | 7.36 | 8.31 | -11 | 52.4 | 51.0 | 2.7 | 5.49 | 5.42 | 1.2 | 0.376 | 0.372 | 0.9 |
| Nd | 27.8 | 32.1 | -13 | 181 | 200 | -9.5 | 23.7 | 24.8 | -4.5 | 2.24 | 2.397 | -6.4 |
| Sm | 5.32 | 5.76 | -7.7 | 23.8 | 27.0 | -12 | 6.17 | 6.165 | 0.1 | 1.10 | 1.113 | -1.1 |
| Gd | 4.32 | 4.86 | -11 | 12.0 | 12.0 | 0.2 | 6.25 | 6.285 | -0.6 | 1.81 | 1.809 | 0.0 |
| Tb | 0.54 | 0.67 | -19 | 1.18 | na |  | 0.92 | 0.946 | -2.7 | 0.352 | 0.362 | -2.7 |
| Dy | 3.43 | 3.58 | -4.2 | 5.09 | 6.10 | -17 | 5.44 | 5.272 | 3.1 | 2.65 | 2.544 | 4.3 |
| Ho | 0.60 | 0.68 | -12 | 0.83 | 1.00 | -17 | 1.029 | 0.984 | 4.6 | 0.595 | 0.572 | 4.1 |
| Er | 1.74 | 1.83 | -4.9 | 2.13 | 2.20 | -3.2 | 2.67 | 2.501 | 6.8 | 1.79 | 1.68 | 6.3 |
| Tm | 0.227 | 0.274 | -17 | 0.23 | 0.29 | -22 | 0.346 | 0.329 | 5.2 | 0.261 | 0.256 | 2.1 |
| Yb | 1.57 | 1.66 | -5.4 | 1.24 | 1.60 | -23 | 2.067 | 1.987 | 4.0 | 1.72 | 1.631 | 5.5 |
| Lu | 0.220 | 0.252 | -13 | 0.16 | 0.23 | -28 | 0.291 | 0.278 | 4.9 | 0.261 | 0.2484 | 5.2 |

na - reference value not available